## Slide 1: Astronomie et astrophysique pour physiciens CUSO 2012 Instruments and observational techniques – Image formation
F. Pepe
Observatoire de l’Université Genève
F. Courbin and P. Jablonka, EPFL

## Slide 2: The observables
Propagation of light wave from stable source at infinity:
which is a solution of wave equations if:
cn is the speed of light in a medium with refractive index n = n(k)
Independent observables are:
The distance between two spatial maxima of the light wave in a given medium and at fixed t is called wavelength and results to be:

## Slide 3: The observables
Astronomical spectroscopy aims at measuring:
At optical wavelength n=w/2p is 1015 Hz, thus too fast to be resolved by detectors. The observable becomes the (surface) brightness or specific intensity In or Il:

## Slide 4: The observables
Morphology: I(a,d) and dI/dt(a,d)
  Source geometry and dynamics
  Time variations
  Interactions by gravity and radiation
  Cosomology
Imaging

## Slide 5: Imaging
Galileo Galilei, 1609

## Slide 6: Imaging

## Slide 7: The observables
Intensity/flux: Ia,d(t) and dIa,d(t)/dt
  Variability due to physics or perturbing obejct
  Periodic events
  Luminosity/distance/mass (‘standard candle’)
Photometry

## Slide 8: Photometry

## Slide 9: Photometry

## Slide 10: The observables
Polarisation: IP,S(a,d,n) and IP,S (a,d,n) /dt
  Magnetic fields
  Physics of emitting medium
  Physics of intermediate medium
Polarimetry

## Slide 11: The observables
Position: aS, dS and daS/dt, ddS/dt
  Parallaxes -> distances
  Proper motion
  Kinematics and dynamics
Astrometry

## Slide 12: Astrometry
Callisto
Io
Ganimede
Europa
Galileo Galilei, 1609

## Slide 13: The observables
Spectrum: Flux density (integrated surface brightness)
  Temperature
  Chemical composition and processes
  Source velocity and rotation (Doppler effect)
Spectroscopy

## Slide 14: Spectroscopy

## Slide 15: (Doppler) Spectroscopy
1995
Discovery of 51Pegb
Queloz & Mayor

## Slide 16: (Doppler) Spectroscopy

## Slide 17: Observing with a telescope
Goals:
Collect as much light as possible
Resolve spatial ‘details’ (form an image)
The telescope is the ‘lens’ and the instrument/detector is the ‘chip’ of your ‘camera’.

## Slide 18: Acquiring the image
Cours Blecha 2003

## Slide 19: Atmospheric absorption
Cours Blecha, Unige 2003

## Slide 20: Effects of the atmosphere
Cours Blecha, Unige 2003

## Slide 21: Telescope definition
Telescope
Focal plane
(x,y)
Detector
Pupil plane
Focal distance f
(0,0,z)
FOV
q
Field of View: FOV [arcsec]
Telescope diameter (collecting area): D [m]
Focal length: f [m]
Source angular position: q [arcsec]
Transmittance (efficiency): e
Image quality: IQ
Collecting area: S = p D2/4 [m2]
F-number: f/D
Numerical aperture: NA = D/2f
Scale factor: Dx/Dq [mm/arcsec]
Dq = FWHM (full-width at half maximum)
= angular (spatial) resolution = 1.22 l/D

## Slide 22: Geometrical image
Object at infinity -> Image on detector
Angular position -> Position on detector
(kx,ky) -> (x,y)
(x,y)
f
(0,0)
q
(kx,ky)

## Slide 23: Telescope classes
Refractor:
  Uses lenses
  Good AR coatings
  Chromatic
  ‘Easier’ to manufacture
  Lower optical power
  longer
Reflector:
  Uses mirror
  Expensive reflective coat.
  Achromatic
  More expensive
  Higher optical power
  More compact

## Slide 24: Mirror manufacturing
Cours Blecha 2003

## Slide 25: Reflective coatings
Cours Blecha, Unige 2003

## Slide 26: Dielectric coatings
Wikipedia
OpcoLab

## Slide 27: Telescope mounting classes
Equatorial
  Simple control
  Heavier and bigger mechanics
Horizontal
  Simpler and more compact
  Requires computer control

## Slide 28: Basic telescope
Cours Blecha, Unige 2003

## Slide 29: Cassegrain telescope
Cours Blecha, Unige 2003

## Slide 30: Newton telescope
Cours Blecha, Unige 2003

## Slide 31: Schmidt-Cassegrain
Cours Blecha, Unige 2003

## Slide 32: Telescope focii
Cours Blecha, Unige 2003

## Slide 33: Swiss Euler@ La Silla

## Slide 34: ESO 3.6-m@ La Silla

## Slide 35: ESO VLT@Paranal

## Slide 36: Keck@Mauna Kea

## Slide 37: Future E-ELT@ESO

## Slide 38: Fourier optics

## Slide 39: Fourier optics

## Slide 40: Image of point-like source

## Slide 41: Image of point-like source

## Slide 42: Image of an extended source

## Slide 43: Define optical transfer function (OTF)
Imaging through any optical system: in intensity units
Image = Object  Point Spread Function
I ( r ) = O  PSF   dx O( x - r ) PSF ( x )
Take Fourier Transform: F ( I ) = F (O ) F ( PSF )
Optical Transfer Function is the Fourier Transform of PSF:
OTF = F ( PSF )
convolved with

## Slide 44: PSF of ‘1-D’ telescope

## Slide 45: PSF of ‘1-D’ telescope

## Slide 46: PSF of ‘2-D’ telescope

## Slide 47: Image formation

## Slide 48: Exercises

## Slide 49: Exercise 1
Compute data rate (bytes per seconds) to observe the ‘whole’ universe:
  Solid angle of 4p
  Visible range (400 nm – 700 nm)
  Spectral resolution l/Dl = 10’000
  Spatial resolution 1 arcsec
  2 polaristations
  16-bit resolution

## Slide 50: Exercise 2
Estimate the height of the lunar ‘mountains’ using Galileo’s approach and knowing that RM = 3476 km:

## Slide 51: Exercise 3
Compute the image size of a 10-arcsec galaxy in the focal plane of a telescope with effective focal length of 30m.

## Slide 52: Exercise 4
Demonstrate that the mirror shape which reflects a parallel beam into a single focal point is a parabola. Tip: Use Fermat’s principle

## Slide 53: Exercise 5
Compute the spatial resolution of the human eye, assuming that the pupil size is of 5mm.
Give an example of an object at the limit of the eye’s resolution.

## Slide 54
D
d
d/D=0.035
h=((17382+(d/D 3476)2 )1/2 - 1738=4.25km
Diametro della Luna= 3476km