## Feuil1
adam.c
=========================================================================
dome (tele) chanel = 4
socle
Temperature_4018_Voie_X(chanel, TRUE, &ta, 0);
rem
Temperature_4018_Voie_X(chanel, TRUE, &tb, 1);
rpm
Temperature_4018_Voie_X(chanel, TRUE, &tc, 2);
fourche
Temperature_4018_Voie_X(chanel, TRUE, &td, 3);
=========================================================================
coralie (coralie) chanel = 5
reseau
err = Temperature_4017_Voie_X(chanel, TRUE, &valeur, 0);
objectif
err = Temperature_4017_Voie_X(chanel, TRUE, &valeur, 1);
enceinte
err = Temperature_4017_Voie_X(chanel, TRUE, &valeur, 2);
cryostat
err = Temperature_4017_Voie_X(chanel, TRUE, &valeur, 3);
localc
err = Temperature_4017_Voie_X(chanel, TRUE, &valeur, 4);
--------------------------------------------------------------------------
accelero (accelerometre) chanel = 5
accelerometre
err = Temperature_4017_Voie_X(chanel, TRUE, &ta, 5);
--------------------------------------------------------------------------
externe (externe) chanel = 5
externe
err = Temperature_4017_Voie_X(chanel, TRUE, &valeur, 6);
--------------------------------------------------------------------------
pression (pression) chanel = 5
pression
err = Temperature_4017_Voie_X(chanel, TRUE, &ta, 7);
=========================================================================
clim (climatisation) chanel = 6
sonde1
err = Temperature_4017_Voie_X(chanel, TRUE, &valeur, 0);
sonde2
err = Temperature_4017_Voie_X(chanel, TRUE, &valeur, 1);
sonde3
err = Temperature_4017_Voie_X(chanel, TRUE, &valeur, 2);
chazote
err = Temperature_4017_Voie_X(chanel, TRUE, &valeur, 3);
=========================================================================
fibre (tfibre) chanel = 8
tfibre
err = Temperature_4013(chanel, TRUE, &ta);
=========================================================================
relai chanel = 7
err = Set_Relai_4060_Voie_X(chanel, TRUE, etat, nbrelai);
=========================================================================
==> c2_jumo/c2_jumo_201604.rdb <==
tair
trepri
consigne
gamme
pourcent
=========================================================================
==> c2_lakeshore/c2_lakeshore_201604.rdb <==
tccd
tazote
consigne
gamme
pourcent
=========================================================================
==> c2_temp/c2_temp_201604.rdb <==
interne
extgui
extimg
rfi1
rfi2
ampli
alimimg
alimpc
alimgui
alimdiaph
=========================================================================
==> climatisation/climatisation_201604.rdb <==
sonde1
sonde2
sonde3
chazote
=========================================================================
==> coralie/coralie_201604.rdb <==
reseau
objectif
enceinte
cryostat
localc
=========================================================================
==> cryostat/cryostat_201604.rdb <==
treg
tcryo
consigne
gamme
pourcent
=========================================================================
==> externe/externe_201604.rdb <==
externe
=========================================================================
==> focus/focus_201604.rdb <==
nuit
m2z
=========================================================================
==> fp_pression/fp_pression_201604.rdb <==
pression
=========================================================================
==> fp_temp/fp_temp_201604.rdb <==
tin
text
consigne
gamme
pourcent
=========================================================================
==> groupefroid/groupefroid_201604.rdb <==
date
time
ext
cool
ineau
outeau
motor
localsw
noa
nob
moya
localpo
areau
depeau
arhuile
dephuile
rephuile
bac
noc
moyb
=========================================================================
==> jumo/jumo_201604.rdb <==
tair
trepri
consigne
gamme
pourcent
=========================================================================
==> lakeshore/lakeshore_201604.rdb <==
tccd
tazote
consigne
gamme
pourcent
=========================================================================
==> pression/pression_201604.rdb <==
pression
=========================================================================
==> tele/tele_201604.rdb <==
socle
rem
rpm
fourche
=========================================================================
==> temperature_telescope/temperature_telescope_201604.rdb <==
temt1m1
temt1m2
temt2m2
eaufroide
temttb
temtth
temthp
=========================================================================
==> tfibre/tfibre_201604.rdb <==
tfibre
=========================================================================